MINUTES

WEDNESDAY, SEPTEMBER 18, 2019

MONTGOMERY COUNTY REGIONAL WATER & SEWER DISTRICT

South Boulevard County Building

110 W South Boulevard

Crawfordsville, IN  47933

The Montgomery County Regional Water & Sewer District met in regular session on Wednesday, September 18, 2019 at 8:30 a.m. at the South Boulevard County Building, 110 W South Boulevard, Crawfordsville, Indiana.  Present were Board members: Chairman Dan Guard, Vice Chairman Terry Hockersmith, and Councilman Mark Davidson, Member.

Also present:  District Attorney Stu Weliever - Weliever, Henthorn, Harris, & Petrie, LLC.; Sam Weber, Stan Hamilton – VS Engineering; Julie Petrie-DLZ;  Shannon Killion – GAI; Don Orr – Health Department; Property Owner Isaac Hook; Property Owner Brian & Ella Swick; and Laura Dossett Co-Treasurer.

I.      Call to Order – Chairman Dan Guard called the meeting to order at 8:30 am.

II.    Minutes

The minutes of the August 21, 2019 regular meeting.  Terry Hockersmith moved to approve.  Mark Davidson seconded.  Motion passed 3-0.

III.   Astbury Water Technologies – Tom Astbury

Tom Asbury reported there are no IDEM violations to report.  The flows are averaging 	31,000 gallons, 23,000 minimum, 57,000 maximum.  Mr. Astbury stated that he does not 	have an Update Proposed Contract Modifications – Professional Operations and 	Maintenance Services in response to VS Engineering’s review of the contract as well as

requested modifications by Board members discussed at the August 21st RSD meeting.

{VS Engineering – Review of Proposed Contract Modifications – Astbury}

IV.   VS Engineering Report

Engineer Sam Weber reviewed the September Monthly Board Report {See Attached}.

Weber reported that the collection system expansion are close to finishing up services 	and expect the lateral installation; restoration, project closeout and final Change Order 	preparations are to be expected next month.

V.    GAI Plant Expansion Update – Shannon Killion

{See Attached}  Suggested flow rates:

Phase 1 – 0.6 MGD average daily flow (ADF); 1.2 MGD peak daily flow (PDF)

Phase 2 - 1.2 MGD ADF; 2.4 MGD PDF.  Engineer Killion stated the size and water re-	issue for re-use will need will require Nucor’s participation.

GAI Agreement – questioned a change in the point of contact.  County Engineer Jim 	Peck is not authorized to make board decisions in regards to the plant expansion 	project.

VI.     New Business

Isaac Hook – SR32 – purchased adjoining 23 acres around his property and questioned the board if he will be required to put in a separate system if he were to build a separate barn and perhaps a cabin.  After discussion, Mr. Hook was advised that when he applies for a building permit, those types of inquiries will be addressed when the Process and Procedures policy has been approved.

V.      Treasurers Report

A.  GAI Claim - $22,000 – Terry Hockersmith moved to recommend to approve the payment to	the GAI in the $22,000.  Mark Davidson seconded.  Motion passed 3-0.

B.  SR32/Nucor Road Sewer Expansion Collection System Construction Claims

Payee			Invoice #	 Amount 	Date

DLZ			824857  	$ 23,147.25	8/19/19

Eagle Valley		1830-10	  310,500.00	9/11/19

Total 		$333,647.25

Mark Davidson moved to recommend approval of the DLZ and Eagle Valley claims 	$333,647.25 to 	the Redevelopment Authority for payment.  Terry Hockersmith seconded.  	Motion 	passed 3-0.

B.  Approve Accounts Payable Claims - $17,470.08

Mark Davidson moved to approve claims as presented $17,470.08.  Terry Hockersmith 	seconded.  Motion passed 3-0.

VII.    Other Business

A.  Brian & Ella Swick, 165 N CR400S – Expressed concerns regarding the contractors 	and sub-contractors on the extension project.

VIII.     Adjourn

Having no other business to come before the Board, Mark Davidson moved to adjourn.  Terry Hockersmith seconded. The motion passed 3-0.

The meeting adjourned @ 9:34 a.m.

Next regular meeting on Wednesday, October 16, 2019 @ 8:30 am.

Respectfully Submitted by Recording Secretary

Laura Dossett - Co-Treasurer - MCRWSD

Approved this ___ day of October, 2019.

______________________________________

Dan Guard, Chairman